## Sheet1
Result
Sample ID | Al | Pb | Cd | As | Hg | Rec. Al % | Rec. Pb % | Rec. Cd % | Rec. As % | Rec Hg %
| mg/kg | mg/kg | mg/kg | mg/kg | mg/kg
QC CRITERIA CHECK
[6 empty] | Calibration Curve | r ≥ 0.995
[6 empty] | Calibration Standar Check Recovery | 100 ± 10%
[6 empty] | Sample & QC Spike Recovery | 60-115%
[6 empty] | RPD | ≤ 25%

## Sheet2
Table Data | [8 empty] | Table Standard
ID SAMPLE | Al | Pb | Cd | As | Hg | Weight | Volume | dF | Standard | Al | Pb | Cd | As | Hg
| (ppb) | (ppb) | (ppb) | (ppb) | (ppb) | (g) | (mL) | (mL) | Blank Baku | 33.5585 | 1.4407 | 0.023134 | 1.1766 | 1.0718
4287 Simplo | 37.1533 | 1.1625 | 0.031546 | 0.056765 | 1.865 | 0.2 | 50 | 1 | BAKU 10 PPB | 15.0145 | 1.4829 | 0.98161 | 1.0476 | 4.1506
4287 Duplo | 38.5309 | 1.4984 | 0.053979 | 0.056765 | 1.7007 | 0.2 | 50 | 1 | BAKU 50 PPB | 56.5743 | 5.3933 | 5.1583 | 5.1817 | 2.3408
4287 Spike | 407.1681 | 39.1657 | 34.0912 | 34.9988 | 174.2146 | 0.2 | 50 | 1 | BAKU 100 PPB | 113.7119 | 10.2263 | 10.3288 | 10.5817 | 4.3827
4254 | 26.7386 | 1.3186 | 0.031546 | 0.092887 | 0.87845 | 0.2 | 50 | 1 | BAKU 300 PPB | 331.913 | 32.4972 | 31.1591 | 32.0677 | 8.8666
4255 | 44.2764 | 1.0504 | 0.019629 | 0.087727 | 0.73645 | 0.2 | 50 | 1 | BAKU 500 PPB | 513.3576 | 51.6528 | 51.3975 | 52.8995 | 14.7113
4256 | 33.1889 | 1.1234 | 0.011216 | 0.046444 | 0.745 | 0.2 | 50 | 1 | BAKU 700 PPB | 700.1946 | 70.2292 | 69.4456 | 70.4646 | 282.2367
4257 | 153.4545 | 1.2834 | 0.010515 | 0.030962 | 0.81344 | 0.2 | 50 | 1 | BAKU 800 PPB | 808.726 | 79.5263 | 79.3625 | 80.1319 | 23.281
4258 | 1120.1718 | 1.2298 | 0.028041 | 0.067085 | 0.53628 | 0.2 | 50 | 1 | BAKU 1000 PPB | 1029.7972 | 101.7464 | 100.8524 | 100.5435 | 31.7612
4259 | 27.0074 | 1.2912 | 0.021732 | 0.061925 | 0.64321 | 0.2 | 50 | 1 | Blank Mars (Date) | 12.2601 | 1.1818 | 0.011216 | 0.051604 | 0.50634
4260 | 37.2542 | 2.5455 | 0.0098143 | 0.077406 | 1.1445 | 0.2 | 50 | 1 | Blank Spike | 407.1681 | 39.1657 | 34.0912 | 34.9988 | 174.2146
4271 | 36.9183 | 1.3187 | 0.02734 | 0.020642 | 2.9451 | 0.2 | 50 | 1 | CS 500 ppb | 380.4831 | 41.4529 | 40.7328 | 41.8497 | 208.9462
4272 | 24.9244 | 1.3712 | 0.0098143 | 0.046444 | 1.3712 | 0.2 | 50 | 1
4273 | 31.7779 | 1.5692 | 0.072907 | 0.020642 | 0.80061 | 0.2 | 50 | 1 | Cek STD | Conc. | Unit |  | Cek STD | Conc. | Unit
4274 | 34.2304 | 1.3076 | 0.062391 | 0.046444 | 1.1899 | 0.2 | 50 | 1 | Cek Std (CRM) | 50 | ug/L |  | Cek Std (CRM) | 500 | ug/L
4275 | 31.3083 | 1.174 | 0.0091133 | 0.082567 | 0.78863 | 0.2 | 50 | 1 | Conc.spiked | 50 | ug/L |  | Conc.spiked | 500 | ug/L
4276 | 62.2196 | 1.2374 | 0.0098143 | 0.025802 | 0.84851 | 0.2 | 50 | 1 | LOD | 0 | mg/L |  | LOD | 0 | mg/L
4289 | 37.7582 | 2.8755 | 0.014721 | 0.046444 | 1.0855 | 0.2 | 50 | 1 | LOQ |  | mg/L |  | LOQ |  | mg/L
4290 | 33.4577 | 3.0864 | 0.023835 | 0.030962 | 0.98282 | 0.2 | 50 | 1
4291 | 0.10076 | 0.53742 | 0 | 0 | 0.10006 | 0.2 | 50 | 1
4292 | 0 | 0.0091139 | 0.00070102 | 0 | 0.10006 | 0.2 | 50 | 1
4293 | 45.2842 | 0.96514 | 0.011917 | 0.025802 | 0.79034 | 0.2 | 50 | 1
4291 | 0 | 0.027142 | 0.0021031 | 0 | 0.069275 | 0.2 | 50 | 1
4292 | 0 | 0.0031728 | 0.00070102 | 0.0051604 | 0.064144 | 0.2 | 50 | 1
4293 | 0 | 0.006415 | 0 | 0 | 0.070986 | 0.2 | 50 | 1
4294 | 0.10076 | 0.010873 | 0 | 0 | 0.055591 | 0.2 | 50 | 1
4253 Simplo | 0 | 0.0031053 | 0 | 0 | 0.043618 | 0.2 | 50 | 1
4253 Duplo | 0 | 0.0082816 | 0.001402 | 0.0051604 | 0.061578 | 0.2 | 50 | 1
4253 Spike | 0.033588 | 0.0069987 | 0 | 0 | 0.076972 | 0.2 | 50 | 1
4246 | 0 | 0.0054231 | 0 | 0.0051604 | 0.060723 | 0.2 | 50 | 1
4247 | 0 | 0.0074712 | 0 | 0.0051604 | 0.071841 | 0.2 | 50 | 1
4248 | 0 | 0.18513 | 0 | 0 | 0.088946 | 0.2 | 50 | 1
4249 | 0 | 0.0073359 | 0 | 0.0051604 | 0.089802 | 0.2 | 50 | 1
4288 Simplo | 0.033588 | 0.01274 | 0 | 0 | 0.092367 | 0.2 | 50 | 1
4288 Duplo | 0 | 0.0085295 | 0 | 0 | 0.12316 | 0.2 | 50 | 1
4288 Spike | 0 | 0.0076292 | 0 | 0 | 0.14026 | 0.2 | 50 | 1
4277 | 0 | 0.16439 | 0 | 0 | 0.12743 | 0.2 | 50 | 1